20240705_AMA_MagnesiumStearate_Notes

CCruns 1->5 with 48% IR power

Particles 1 through 80

Raman was okay at times but not the best

Often saw burning/particle damage

CCruns 6->7 with 24% IR Power

(Settings w/ Raman range below)

Particles 81 through 105

Raman seems to be consistently better

Particles are less damaged

Substrate prepped same day