20240718_AMA_StearicAcid_v2_Notes

CCruns 1->70 with 24% IR power

(Raman range same as Mg v2)

Spectra 1 through 70

Relatively good signal

Particles not too damaged

Spiny bits in IR around 1200 – 1300 cm-1 are big

Substrate prepped same day

Ground with SEM stub on Al foil – particles still very spaced out and still large in comparison to the other samples, CC sometimes did multiple points on same particle