Project: CC-OPTIR for MPs

Experiment: 20230906 PP 2 min sonication iced MPS

Data sources: LabRAM Raman and mIRage O-PTIR+Raman

1. Sample collection details

- Date of sampling: 20230906

- Name of person(s) who sampled: Rebecca Parham

- Comments

2. Data collection

- Date of collection: 20231116

  - Name of collector: Antigone Wilson

  - Instrument: HORIBA Raman

    - 'core' file name: 20231115_PP_2minsonic_ice_MPS

    - Parameters

      - –Acquisition time: 30 s

      - –Accumulations: 3

      - –Delay time: 15 s

      - –Resolution: 600 gr/mm

      - –ND filter: 10%

  - Comments

    - Analyzed 8 particles on sample

Data analysis:

Include name, date, and any important details on analysis type, software used, and file names.