## 20230502_CCOPTIR_200to9900nm_PE
Sample File | C:\Users\rparham\Documents\Projects\M4AM\CC-OPTIR project\OPS\20230602 200-9900 nm PE\20230502_CCOPTIR_200to9900nm_PE.O30
Instrument Model | 3330
Instrument Serial Number | 3330164201
Sample Length (s) | 60
Alarm Set | No
Dead Time Correction Applied | Yes
Units | dW/dlogDp
Weight | Number
Refractive Index Applied | No
Sample # |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Date |  |  |  |  | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02 | 2023-06-02
Start Time |  |  |  |  | 16:34 | 16:35 | 16:36 | 16:37 | 16:38 | 16:39 | 16:40 | 16:41 | 16:42 | 16:43
Temp.(C) |  |  |  |  | 33.333 | 33.333 | 33.333 | 33.272 | 33.242 | 33.181 | 33.12 | 33.059 | 32.998 | 32.937
Pressure(kPa) |  |  |  |  | 98.416 | 98.416 | 98.416 | 98.416 | 98.416 | 98.416 | 98.416 | 98.416 | 98.416 | 98.416
Rel. Humidity |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Errors |  |  |  |  | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error | Filter Concentration Error
Alarm Triggered | bar: 1 to 10
Dilution Factor | bar: 1 to 10
Dead Time (s) |  |  |  |  | 0.047905 | 0.004779 | 0.004351 | 0.004685 | 0.004229 | 0.003517 | 0.00379 | 0.00373 | 0.003857 | 0.003676
Median |  |  |  |  | 0.32761 | 0.52962 | 0.61018 | 0.59749 | 0.63629 | 0.54407 | 0.56771 | 0.61718 | 0.51498 | 0.60453
Mean |  |  |  |  | 0.41445 | 0.94688 | 0.99548 | 0.96264 | 0.99744 | 0.94241 | 0.93905 | 1.0248 | 0.92314 | 1.0142
Geo. Mean |  |  |  |  | 0.38414 | 0.72187 | 0.76419 | 0.75184 | 0.76953 | 0.73373 | 0.74265 | 0.77641 | 0.71498 | 0.76099
Mode |  |  |  |  | 0.337 | 0.337 | 0.337 | 0.337 | 0.337 | 0.337 | 0.337 | 0.337 | 0.337 | 0.337
Geo.St.Dev. |  |  |  |  | 1.3511 | 2.0237 | 2.0101 | 1.9719 | 1.9874 | 1.9792 | 1.9495 | 2.03 | 1.9834 | 2.0469
Total Conc. (#/cm³) |  |  |  |  | 7.8773 | 0.66705 | 0.60404 | 0.64605 | 0.60504 | 0.51203 | 0.55104 | 0.53403 | 0.55004 | 0.52703 |  | avg of samples 2-10 | 0.57737 | #/cm^3
LB | UB | LB with RI | UB with RI | MPDiam | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | avg (2-10) | std error |  |  | MPDiam | avg (2-10) | std error
0.3 | 0.374 | 0.3 | 0.374 | 0.337 | 55.1248 | 1.7547 | 1.316 | 1.3265 | 1.1071 | 1.0862 | 1.1176 | 1.0549 | 1.3682 | 1.1698 | 1.2557 | 0.069202 |  |  | 0.337 | 1.2557 | 0.069202
0.374 | 0.465 | 0.374 | 0.465 | 0.4195 | 19.6073 | 0.99393 | 0.89876 | 1.0256 | 1.0891 | 0.95162 | 0.93048 | 0.81417 | 0.80359 | 0.89875 | 0.934 | 0.029443 |  |  | 0.4195 | 0.934 | 0.029443
0.465 | 0.579 | 0.465 | 0.579 | 0.522 | 4.1514 | 0.72465 | 0.63013 | 0.79817 | 0.58812 | 0.59861 | 0.71414 | 0.63012 | 0.76665 | 0.44109 | 0.65463 | 0.034419 |  |  | 0.522 | 0.65463 | 0.034419
0.579 | 0.721 | 0.579 | 0.721 | 0.65 | 0.79848 | 0.44095 | 0.47244 | 0.40945 | 0.44094 | 0.30446 | 0.36745 | 0.40945 | 0.36745 | 0.39895 | 0.40128 | 0.015719 |  |  | 0.65 | 0.40128 | 0.015719
0.721 | 0.897 | 0.721 | 0.897 | 0.809 | 0.42202 | 0.47443 | 0.369 | 0.46389 | 0.48497 | 0.37954 | 0.25303 | 0.40063 | 0.31628 | 0.33737 | 0.38657 | 0.024629 |  |  | 0.809 | 0.38657 | 0.024629
0.897 | 1.117 | 0.897 | 1.117 | 1.007 | 0.65136 | 0.56691 | 0.67189 | 0.77688 | 0.76637 | 0.44092 | 0.71388 | 0.5774 | 0.49341 | 0.53541 | 0.6159 | 0.03805 |  |  | 1.007 | 0.6159 | 0.03805
1.117 | 1.391 | 1.117 | 1.391 | 1.254 | 0.29412 | 0.36739 | 0.3359 | 0.3359 | 0.34639 | 0.28341 | 0.20993 | 0.26242 | 0.3044 | 0.35689 | 0.3114 | 0.016161 |  |  | 1.254 | 0.3114 | 0.016161
1.391 | 1.732 | 1.391 | 1.732 | 1.5615 | 0.56756 | 0.74569 | 0.74569 | 0.71419 | 0.68267 | 0.63015 | 0.8087 | 0.66166 | 0.60915 | 0.66166 | 0.69551 | 0.019995 |  |  | 1.5615 | 0.69551 | 0.019995
1.732 | 2.156 | 1.732 | 2.156 | 1.944 | 0.3999 | 0.43116 | 0.49425 | 0.49425 | 0.42064 | 0.36805 | 0.33651 | 0.36805 | 0.41012 | 0.37857 | 0.41129 | 0.017445 |  |  | 1.944 | 0.41129 | 0.017445
2.156 | 2.685 | 2.156 | 2.685 | 2.4205 | 0.22054 | 0.23088 | 0.19939 | 0.26236 | 0.19939 | 0.1889 | 0.1889 | 0.1889 | 0.1889 | 0.12593 | 0.19706 | 0.011517 |  |  | 2.4205 | 0.19706 | 0.011517
2.685 | 3.343 | 2.685 | 3.343 | 3.014 | 0.16822 | 0.13658 | 0.10506 | 0.084047 | 0.084046 | 0.084045 | 0.10506 | 0.07354 | 0.063034 | 0.07354 | 0.089883 | 0.0070256 |  |  | 3.014 | 0.089883 | 0.0070256
3.343 | 4.162 | 3.343 | 4.162 | 3.7525 | 0.063098 | 0.084071 | 0.052544 | 0.042035 | 0.063052 | 0.031526 | 0.031526 | 0.084069 | 0.042035 | 0.063052 | 0.054879 | 0.0063479 |  |  | 3.7525 | 0.054879 | 0.0063479
4.162 | 5.182 | 4.162 | 5.182 | 4.672 | 0.052566 | 0.042022 | 0.010505 | 0.042022 | 0.052527 | 0.021011 | 0 | 0.021011 | 0.031516 | 0.031516 | 0.028015 | 0.0052202 |  |  | 4.672 | 0.028015 | 0.0052202
5.182 | 6.451 | 5.182 | 6.451 | 5.8165 | 0.021041 | 0.010513 | 0.021025 | 0 | 0.021025 | 0.010513 | 0.010513 | 0.052563 | 0.010513 | 0.04205 | 0.019857 | 0.0053386 |  |  | 5.8165 | 0.019857 | 0.0053386
6.451 | 8.032 | 6.451 | 8.032 | 7.2415 | 0.010513 | 0 | 0.010505 | 0.010505 | 0 | 0 | 0 | 0.010505 | 0 | 0.010505 | 0.004669 | 0.00174 |  |  | 7.2415 | 0.004669 | 0.00174
8.032 | 10 | 8.032 | 10 | 9.016 | 0 | 0 | 0.010508 | 0 | 0.010508 | 0 | 0 | 0 | 0 | 0.010507 | 0.0035025 | 0.0016511 |  |  | 9.016 | 0.0035025 | 0.0016511