Project: CC-OPTIR for MPs

Experiment: 20230906 200 to 9900 nm LDPE 2 min sonication iced

Data sources: CC-OPTIR+Raman

1. Sample collection details

a. Date of sampling: 20230906 and 20230912

b. Name of person(s) who sampled: Rebecca Parham

c. Comments

- Suspension made with 0.2-9.9 um LDPE in 50/50 ethanol/Omnisolve (i.e. ultrapure water).

- Suspension sonicated for 2 minutes in an ice bath before sampling.

  - 5 uL aliquot was spotted onto aluminum-coated silicon and dried for analysis as well. Data stored in file with core name + "_beforeatomization"

- Sampled for 10 minutes onto stage 2 (0.4-2.8 um) of a Microanalysis Particle Sizer. Substrate was aluminum-coated silicon.

  - Atomized with a Collison nebulizer and sent through drier before impaction.

2. Data collection

a. Date of collection: 20230911

b. Name of collector: Rebecca Parham

c. Instrument: mIRage O-PTIR+Raman

i. 'core' file name: 20230911_200to9900nmLDPE_2minsonication_iced_

10minMPSstg2

ii. O-PTIR parameters

–Wavenumber: 1450 cm-1

–IR power: 20%

–Probe power: 5%

–Detector gain: 2x

–Averages: 10

iii. Raman parameters

–Resolution: 600 gr/mm

–Integration: 30 s

–Averages: 3

–Delay time: 15 s

iv. Comments

- Took two mosaic images of the spot collected: one with 20x and one with 40x objectives (both zoomed in).

  - Images and background spectrum on one file

- Used separate files to collect CC-OPTIR+Raman data on particles since particle loading was high enough.

c. Instrument: HORIBA Raman

i. 'core' file name:

ii. Parameters

–Acquisition time:

–Accumulations:

–Delay time:

–Resolution:

–ND filter:

c. Instrument: HIROX

i. 'core' file name:

ii. Objective:

iii. Zoom:

d. Comments

Data analysis:

Include name, date, and any important details on analysis type, software used, and file names.