Project: CC-OPTIR for MPs

Experiment: 20240124 PP iced

Data sources: LabRAM Raman

1. Sample collection details

a. Date of sampling: 20240124

b. Name of person(s) who sampled: Rebecca Parham

2. Data collection

a. Date of collection: 20240125

b. Name of collector: Lauren Meagher

c. Instrument: HORIBA Raman

i. 'core' file name: 20240125_PP_100x

ii. Parameters

–Acquisition time: 30 s

–Accumulations: 3

–Delay time: 15

–Resolution: 600 gr/mm

–ND filter: 10%

d. Comments

Data analysis:

Include name, date, and any important details on analysis type, software used, and file names.